DCS HV trip alert status
HV trip detection
HV trip close
HV Channel Trip
HV Channel Recovery
Action Trigger
HV Channel Voltage Decrease
HV Channel Disable
Action Trigger
Force ON command to DCS
Vset=3400V and Force ON
command to DCS
Disable Channel command to DCS
DCS
DCS
DCS
DCS HV trip alert clear
DCS HV channel vset changed
DCS HV channel disabled
DCS HV trip alert clear
DCS HV trip alert clear
Fact
Rule
Conclusion
Action
Open
Close